## Input
|  | U.S. Department of Energy: Record of Newly Adopted Non-Government Standards | [5 empty] | Version 3.0 | Status: OK
Last Name: |  | Graham | First Name: | James
Title: |  | Head, Best Practices and QA | Organization Number: |  |  | 69 | Princeton Plasma Physics Lab
Office Telephone Number: |  | 606-243-2701 |  | Email Address: | jpraham@pppl.gov
Date (mm/dd/yyyy) of Report: |  | 2016-10-08
Line No. | Status | Non-Government Standards Adopted During Fiscal Year 2016 | [6 empty] | The cells below provide an explanation of issues in the data entry section
(Click here for a listing of all adopted standards from last year)
|  | Document Number (e.g., AAMA 1002.10) | Full Document Title (e.g., Aluminum Insulating Storm Products for Windows and Sliding Glass Doors) |  |  |  | Version and/or Year (Optional) |  | Document Number Status | Full Document Title Status | Version and/or Year Status | Number of Columns | 3 | Do not change this column's width. Entries below force row height to be at least 2 lines
1 | ok | IEC 60439-1 | Low-Voltage switchgear and control gear assemblies. Part 1: Type tested and partially type-tested assemblies | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
2 | ok | IEC 60034-1 / NF EN 60034-1 | Rotating electrical machines-Part 1: Rating and Performances | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
3 | ok | IEC 60038 | IEC standard voltages | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
4 | ok | IEC 60050-161 | International Electrotechnical Vocabulary. Chapter 161: Electromagnetic compatibility | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
5 | ok | IEC 60050-461 | International Electrotechnical Vocabulary. Chapter 461: Electric cables | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
6 | ok | IEC 60059 | IEC standard current ratings | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
7 | ok | IEC 60060-1,…,3 | High Voltage test techniques | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
8 | ok | IEC 60068 | Environmental testing | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
9 | ok | IEC 60068-1 | Environmental testing – Part 1 General and Guidance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
10 | ok | IEC 60068-2-14 | Environmental testing – Part 2: Tests –Test N: Change of temperature | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
11 | ok | IEC 60068-2-2 | Basic environmental testing procedure f-Part 2: Tests – Tests B: Dry Heat | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
12 | ok | IEC 60068-2-57 | Environmental testing – Part 2: Tests –Test Fc: Vibration Time history method | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
13 | ok | IEC 60068-2-59 | Environmental testing – Part 2-57: Tests –Test Ff: Sine-Beat method | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
14 | ok | IEC 60068-2-6 | Environmental testing – Part 2: Tests –Test Fc: Vibration (sinusoidal) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
15 | ok | IEC 60068-3-3 | Environmental testing. Part 3 : Guidance –Seismic test method for equipment | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
16 | ok | IEC 60071-1,2 | Insulation co-ordination | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
17 | ok | IEC 60076-11 | Power transformers – Part 11 : Dry-type transformers | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
18 | ok | IEC 60085 | Electrical insulation - Thermal evaluation and designation | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
19 | ok | IEC 60146-2 | Semiconductor converters – Part 2 : Self commutated semiconductor converters including direct dc converters | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
20 | ok | IEC 60216-1 | Electrical insulating materials - Properties of thermal endurance - Part 1: Ageing procedures and evaluation of test results | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
21 | ok | IEC 60216-2 | Electrical insulating materials - Thermal endurance properties - Part 2: Determination of thermal endurance properties of electrical insulating materials - Choice of test criteria | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
22 | ok | IEC 60231A | General principles of nuclear reactor instrumentation | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
23 | ok | IEC 60297-1 | Dimensions of mechanical structures of the 482.6 mm (19 in) series. Part 1: Panels and racks | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
24 | ok | IEC 60297-2 | Dimensions of mechanical structures of the 482.6 mm (19 in) series. Part 2: Cabinets and pitches of rack structures | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
25 | ok | IEC 60297-3 | Mechanical structures for electronic equipment - Dimensions of mechanical structures of the 482,6 mm (19 in) series | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
26 | ok | IEC 60300 | Dependability management | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
27 | ok | IEC 60332-1-1 | Tests on electric and optical fibre cables under fire conditions - Part 1-1: Test for vertical flame propagation for a single insulated wire or cable – Apparatus | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
28 | ok | IEC 60332-1-2 | Tests on electric and optical fibre cables under fire conditions - Part 1-2: Test for vertical flame propagation for a single insulated wire or cable - Procedure for 1 kW pre-mixed flame | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
29 | ok | IEC 60332-1-3 | Tests on electric and optical fibre cables under fire conditions - Part 1-3: Test for vertical flame propagation for a single insulated wire or cable - Procedure for determination of flaming droplets/particles | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
30 | ok | IEC 60332-2-1 | Tests on electric and optical fibre cables under fire conditions - Part 2-1: Test for vertical flame propagation for a single small insulated wire or cable - Apparatus | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
31 | ok | IEC 60332-2-2 | Tests on electric and optical fibre cables under fire conditions - Part 2-2: Test for vertical flame propagation for a single small insulated wire or cable - Procedure for diffusion flame | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
32 | ok | IEC 60332-3-10 | Tests on electric cables under fire conditions - Part 3-10: Test for vertical flame spread of vertically-mounted bunched wires or cables - Apparatus | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
33 | ok | IEC 60352-1 | Solderless connections - Part 1: Wrapped connections - General requirements, test methods and practical guidance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
34 | ok | IEC 60352-2 | Solderless connections - Part 2: Crimped connections - General requirements, test methods and practical guidance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
35 | ok | IEC 60359 | Electrical and electronic measurement equipment - Expression of performance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
36 | ok | IEC 60364 | Low voltage Electrical Installations Rules | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
37 | ok | NF C 15-100 | Low-voltage electrical installations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
38 | ok | IEC 60364-4-41 | Low-voltage electrical installations - Part 4-41: Protection for safety - Protection against electric shock | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
39 | ok | IEC 60446 | Basic and safety principles for man-machine interface, marking and identification – Identification of conductors by colours or alphanumerics | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
40 | ok | IEC 60470 | High-voltage alternating current contactors and contactor-based motor-starters | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
41 | ok | IEC 60479-1 | Effects of current on human beings and livestock – Part 1: General aspects | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
42 | ok | IEC 60529 | Degrees of protection provided by enclosures (IP code) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
43 | ok | IEC 60654-2 | Operating conditions of measurement, control equipment in industrial processes | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
44 | ok | IEC 60671 | Nuclear power plants - Instrumentation and control systems important to safety - Surveillance testing | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
45 | ok | IEC 60695-11-20 | Fire hazard testing - Part 11-20: Test flames - 500 W flame test methods | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
46 | ok | IEC 60706 | Maintainability of equipment | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
47 | ok | IEC 60721 | Classification of environmental classes and severity levels | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
48 | ok | IEC 60725 | Reference impedance for LV power lines | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
49 | ok | IEC 60780 | Nuclear power plants - Electrical equipment of the safety system – Qualification | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
50 | ok | IEC 60811-1-2 | Insulating and sheathing materials of electric cables – common test methods Part 1-2: Method for general application- thermal ageing method | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
51 | ok | IEC 60880 | Nuclear power plants - Instrumentation and control systems important to safety - Software aspects for computer-based systems performing category A functions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
52 | ok | IEC 60909-0 | Short-circuit currents in three-phase ac systems - Part 0: Calculation of currents | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
53 | ok | IEC 60947-2 | Low voltage switchgear and control gear – Part 2: Circuit Breakers. | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
54 | ok | IEC 60947-3 | Low voltage switchgear and control gear – Part 3: Switches, disconnectors, switch-disconnectors and fuse combination units. | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
55 | ok | IEC 60947-4-1 | Low voltage switchgear and control gear – Part 4-1: Contactors and motors starters- Electromechanical contactors and motor starters | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
56 | ok | IEC 60964 | Design for control rooms of nuclear power plants | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
57 | ok | IEC 60980 | Recommended practices for seismic qualification of electrical equipment of the safety system for nuclear generating stations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
58 | ok | IEC 61000-1 | Electromagnetic compatibility. General considerations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
59 | ok | IEC 61000-1-2 | Methodology to achieve functional safety on E/E equipment | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
60 | ok | IEC 61000-2-10 | Description of HEMP environment - Conducted disturbance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
61 | ok | IEC 61000-2-11 | Environment - Classification of HEMP environments | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
62 | ok | IEC 61000-2-12 | Compatibility levels for low frequency conducted disturbances and signalling in public medium voltage power supply systems | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
63 | ok | IEC 61000-2-13 | Environment - High-power electromagnetic (HPEM) environments - Radiated and conducted | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
64 | ok | IEC 61000-2-2 | Compatibility levels in public LV power systems | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
65 | ok | IEC 61000-2-3 | Description, radiated and non-network frequency conducted disturbances | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
66 | ok | IEC 61000-2-4 | Compatibility levels in industrial plants | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
67 | ok | IEC 61000-2-5 | Classification of the EM environments | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
68 | ok | IEC 61000-2-7 | Low frequency magnetic fields in various environments | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
69 | ok | IEC 61000-2-8 | Voltage dips, short interruptions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
70 | ok | IEC 61000-2-9 | Description of HEMP environment - Radiated disturbance | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
71 | ok | IEC 61000-3 | Emission variations distribution networks | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
72 | ok | IEC 61000-4 | Immunity tests | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
73 | ok | IEC 61000-4-7 | Measurement techniques. Harmonics | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
74 | ok | IEC 61000-5 | Installation and mitigation guidelines. Protection degree | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
75 | ok | IEC 6100-6-2 | Generic standard Industrial environmental immunity | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
76 | ok | IEC 6100-6-4 | Generic standard Industrial environmental emissions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
77 | ok | IEC 61014 | Programs for reliability growth | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
78 | ok | IEC 61024-1-1 | Protection against lightning - Part 1: General principles | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
79 | ok | IEC 61024-1-2 | Protection against lightning - Part 3: Physical damage to structures and life hazard | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
80 | ok | IEC 61124 | Reliability testing - Compliance tests for constant failure rate and constant failure intensity | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
81 | ok | IEC 61131-2 | Programmable controllers - Part 2: Equipment requirements and tests | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
82 | ok | IEC 61160 | Design review | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
83 | ok | IEC 61163 | Reliability stress screening | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
84 | ok | IEC 61165 | Application of Markov Techniques | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
85 | ok | IEC 61180-1 | High-voltage test techniques for low voltage equipment – Part 1: Definitions, test and procedure requirements | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
86 | ok | IEC 61189 | Test methods for electrical materials, interconnection structures and assemblies | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
87 | ok | IEC 61225 | Safety Instrumented systems for process industry | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
88 | ok | IEC 61226 | Nuclear Power Plants - Instrumentation and Control Systems Important to Safety - Classification of Instrumentation and Control Functions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
89 | ok | IEC 61227 | Nuclear power plants - Control rooms – Operator controls | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
90 | ok | IEC 61312-1 | Protection against lightning - Part 4: Electrical and electronic systems within structures | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
91 | ok | IEC 61312-4 | Protection against lightning - Part 4: Electrical and electronic systems within structures | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
92 | ok | IEC 61326 | Electrical equipment for measurement control and laboratory use | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
93 | ok | IEC 61508-1,…,7 | Functional safety of electrical electronic/electronic programmable safety | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
94 | ok | IEC 61513 | Nuclear power plants - Instrumentation and control for systems important to safety - General requirements for systems | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
95 | ok | IEC 61662 | Protection against lightning - Part 2: Risk management | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
96 | ok | IEC 61709 | Reference conditions for failure rates and stress models for conversions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
97 | ok | IEC 61771 | Nuclear power plants - Main control-room - Verification and validation of design | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
98 | ok | IEC 61772 | Nuclear power plants - Main control room - Application of visual display units (VDU) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
99 | ok | IEC 61936-1 | Electrical Installations of nominal voltage above 1 kV in AC | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
100 | ok | IEC 62138 | Nuclear power plants - Instrumentation and control important for safety - Software aspects for computer-based systems performing category B or C functions | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
101 | ok | IEC 62262 | Degrees of protection provided by enclosures for electrical equipment against external mechanical impacts (IK codes) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
102 | ok | IEC 62271-100 | High-voltage switchgear and control gear - Part 100: High-voltage alternating-current circuit-breakers | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
103 | ok | IEC 62271-200 | High-voltage switchgear and control gear - Part 200: AC metal-enclosed switchgear and control gear for rated voltages above 1 kV and up to and including 52 kV | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
104 | ok | IEC 62308 | Reliability assessment methods | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
105 | ok | IEC 62347 | Guidance on system dependability specifications | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
106 | ok | IEC 62429 | Reliability growth – Stress testing for early failures in unique complex systems | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
107 | ok | IEC/TS 61000-6-5 | Electromagnetic compatibility (EMC) - Part 6-5: Generic standards - Immunity for power station and substation environments | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
108 | ok | NF C 13-200 | High Voltage Electrical Installations – Requirements (V<63 kV) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
109 | ok | NF C 15-100 | Low Voltage Electrical Installations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
110 | ok | NF C 17-100 | Protection against Lightning – Protection of structures against Lightning- Installation of lightning Protective System | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
111 | ok | NF C 32-070 | Classification test on cable and cords with respect of the behaviour to fire insulated cables and flexible cords for installations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
112 | ok | NF C 93-022 | Electronic components-Point-to-point Clip Terminals | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
113 | ok | NF C04-200 | Marking of conductors (status change of the standard NF C 04-200 dated June 1974, ENR) | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
114 | ok | NF EN 2812-1 | Paints and varnishes – determinations of resistance to liquids – Part 1: General methods | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
115 | ok | NF EN 45014 | General Criteria for Supplier’s Declaration of Conformity | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
116 | ok | NF EN 50110 -1,2 | Operation of electrical installations | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
117 | ok | NF EN ISO 9000-3 | Quality assurance and quality management standards – Part 3: Directives for the application of ISO 9001:9004 with reference to the provision, installation and maintenance of software | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
118 | ok | NF ISO 2859-0 | Sample procedures for inspection by attributes. Part 0: Introduction to the ISO 2859 Attribute Sampling System. | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
119 | ok | NF ISO 3951 | Sampling procedures and charts for inspection by variables | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
120 | ok | NF ISO 9001 | Quality management systems – Requirements | [5 empty] | ok | ok | ok |  |  | aaaaaaaaa
121 | [13 empty] | aaaaaaaaa
122 | [13 empty] | aaaaaaaaa
123 | [13 empty] | aaaaaaaaa
124 | [13 empty] | aaaaaaaaa
125 | [13 empty] | aaaaaaaaa
126 | [13 empty] | aaaaaaaaa
127 | [13 empty] | aaaaaaaaa
128 | [13 empty] | aaaaaaaaa
129 | [13 empty] | aaaaaaaaa
130 | [13 empty] | aaaaaaaaa
131 | [13 empty] | aaaaaaaaa
132 | [13 empty] | aaaaaaaaa
133 | [13 empty] | aaaaaaaaa
134 | [13 empty] | aaaaaaaaa
135 | [13 empty] | aaaaaaaaa
136 | [13 empty] | aaaaaaaaa
137 | [13 empty] | aaaaaaaaa
138 | [13 empty] | aaaaaaaaa

## Org List
List of Organizations
Enter the number below corresponding to your organization in the Organization Number cell on the Input page.
0 |  | If your organization is not listed, enter "0" (zero) in the Organization Number cell and type the name of your organization in the cell to the left
1 | Ames Laboratory
2 | Argonne National Laboratory
3 | Brookhaven National Laboratory
4 | DOE-Ames Site Office
5 | DOE-Argonne Site Office
6 | DOE-AU
7 | DOE-Berkeley Site Office
8 | DOE-BPA
9 | DOE-Brookhaven Site Office
10 | DOE-Carlsbad Field Office
11 | DOE-Chicago Ames Group
12 | DOE-Chicago Operations Office
13 | DOE-CTA
14 | DOE-DR
15 | DOE-EA
16 | DOE-EE
17 | DOE-EM
18 | DOE-FE
19 | DOE-FTCP
20 | DOE-GC
21 | DOE-Golden Field Office
22 | DOE-Grand Junction Project Office
23 | DOE-Idaho National Laboratory-NE
24 | DOE-MA
25 | DOE-NA
26 | DOE-NE
27 | DOE-NETL (BPO)
28 | DOE-Oak Ridge Office-EM
29 | DOE-Oak Ridge Office-NE
30 | DOE-Oak Ridge Office-SC
31 | DOE-Office of River Protection
32 | DOE-ORNL Site Office
33 | DOE-Pacific Northwest Site Office
34 | DOE-Portsmouth/Paducah
35 | DOE-Princeton Site Office
36 | DOE-Richland Operations Office
37 | DOE-Savannah River Office-EM
38 | DOE-Savannah River Operations Office
39 | DOE-SC
40 | DOE-Stanford Site Office
41 | DOE-Thomas Jefferson Site Office
42 | DOE-West Valley Demonstration Project
43 | Fermi NAL
44 | Hanford-CH2M Hill Plateau Remediation Company (CHPRC)
45 | Hanford-Mission Support Alliance (MSA)
46 | Idaho National Laboratory
47 | Kansas City Plant
48 | Lawrence Berkeley National Laboratory
49 | Lawrence Livermore National Laboratory
50 | Los Alamos National Laboratory
51 | National Energy Technology Laboratory-PGH
52 | Nevada National Security Site-Centerra Nevada
53 | Nevada National Security Site-NSTec
54 | NNSA-Kansas City Site Office
55 | NNSA-Kirtland Area Office
56 | NNSA-Livermore Site Office
57 | NNSA-Los Alamos Site Office
58 | NNSA-Nevada
59 | NNSA-Pantex
60 | NNSA-Production Office
61 | NNSA-Sandia Site Office
62 | NNSA-Savannah River Office
63 | NNSA-Service Center (Albuquerque)
64 | NNSA-Y-12
65 | ORAU
66 | ORNL-Isotek
67 | ORNL-UCOR (URS ¦ CH2M )
68 | PNNL-Battelle
69 | Princeton Plasma Physics Lab
70 | Sandia National Laboratories-Albuquerque
71 | Sandia National Laboratories-Livermore
72 | Savannah River Site-SRNS (EM)
73 | Savannah River Site-SRR
74 | SLAC National Accelerator Laboratory
75 | Thomas Jefferson National Lab
76 | WIPP